** FREE PREVIEW VERSION **

[Organization logo]

[Organization name]

STANDARD OPERATING PROCEDURE FOR ELECTRICAL HAZARDS

| Code: |  |
| --- | --- |
| Version: | 0.1 |
| Created by: |  |
| Approved by: |  |
| Date of version: |  |
| Signature: |  |

Distribution list

| Copy No. | Distributed to | Date | Signature | Returned |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date | Signature |

Change history

| Date | Version | Created by | Description of change |
| --- | --- | --- | --- |
|  | 0.1 | 45001Academy | Basic document outline |

Table of contents

1.	Purpose, scope and users	3

2.	Reference documents	3

3.	Electrical hazards identification	3

4.	Safety measures at work against hazards that occur using electrical energy	3

4.1.	Assessment of the state of applied measures of protection	4

4.2.	Measures for risk reducing	4

4.2.1.	Structure and safe state of electrical systems, equipment and devices	4

4.2.2.	Measures relating to the behavior of employees during the use and maintenance of electrical systems and devices	5

4.3.	Measures in case of an incident	6

5.	Managing records kept on the basis of this document	6

# Purpose, scope and users

The purpose of this document is to define measures of protection from identified electrical hazards.

This document applies to all work activities in [organization name] where electrical hazards emerge.

Users of this document are all employees of [organization name] in work places with identified electrical hazards.

# Reference documents

- ISO 45001:2018 standard, clause 8.1

- OH&S Manual

- OH&S Policy

- OH&S Objectives

- Procedure for Addressing Risks and Opportunities and OH&S Hazards

- Procedure for Operational Control

- Procedures for Preparedness and Emergency Response

- List of Legal and Other Requirements

# Electrical hazards identification

The [Job title] responsible for risk assessment is obliged to identify electrical hazards in all work places where those types of hazards emerge.

Typical electrical hazards include, but are not limited to:

- The hazard of direct contact with parts of electrical installations and equipment under voltage

- The hazard of indirect contact

- The hazard of thermal effect made by electrical equipment and installations (overheating, fire, electric arc or arcing, etc.)

- The hazards that arise from lightning and consequences of atmospheric discharge

- The hazard of harmful effects of electrostatic charges

** END OF FREE PREVIEW **

To download full version of this document click here: https://advisera.com/45001academy/documentation/sop-for-electrical-hazards/