** FREE PREVIEW VERSION **

[Organization logo]

[Organization name]

EMERGENCY PREPAREDNESS AND RESPONSE PLAN FOR LEAKAGE

| Code: |  |
| --- | --- |
| Version: |  |
| Date of version: |  |
| Created by: |  |
| Approved by: |  |
| Confidentiality: |  |

Distribution list

| Copy No. | Distributed to | Date | Signature | Returned |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date | Signature |

Change history

| Date | Version | Created by | Description of change |
| --- | --- | --- | --- |
|  | 0.1 | 9001Academy | Basic document outline |

Table of contents

1.	Purpose, scope and users	3

2.	Reference documents	3

3.	Preparedness and flooding response	3

3.1.	Preventive actions	3

3.2.	Acting in case of leakage	4

3.3.	Evacuation	4

3.4.	Return to the site	5

3.5.	Exercising and testing	5

4.	Managing records kept on the basis of this document	6

# Purpose, scope and users

The purpose of this document is to define the emergency preparedness plan in case of leakage of hazardous substances, which includes preventive actions, action in case of leakage, evacuation, and return to the site. This document applies to all parts and locations of [organization name].

Users of this document are all employees of [organization name].

# Reference documents

- ISO 14001:2015 standard, clause 8.2

- Integrated Management System Manual

- Environmental Policy

- Procedure for Identification and Evaluation of Environmental Aspects

- Procedure for Communication

- Procedure for Preparedness and Emergency Response

- Procedures for the Management of Non-Conformities and Corrective Actions

- List of Interested Parties,  Legal and Other Requirements

# Preparedness and flooding response

In case of emergency, the person responsible for coordination is [job title].

## Preventive actions

[Job title] is responsible for identifying and maintaining the following preventive actions in order to minimize occurrence or damage in case of leaking in [organization name]:

** END OF FREE PREVIEW **

To download full version of this document click here: https://advisera.com/14001academy/documentation/emergency-preparedness-and-response-plan-for-leakage/